## Slide 1
Dynamique des structures 2(DDS2)
(Master1 G.C)

Responsible: Dr. GUETTICHE ABDELHEQ

Academic Year 2023- 2024
UNIVERSITY CENTER OF MILA
INSTITUTE OF SCIENCE AND TECHNOLOGY DEPARTMENT OF CIVIL AND HYDRAULIC ENGINEERING

## Slide 2
1. Chapter 01: Free Vibrations of SDOF Systems (3 weeks)
-Introduction
- Undamped free vibrations of SDOF systems (modal analysis)
- Orthogonality of eigenmodes
- Applications
2. Chapter 02: Forced Vibrations of SDOF Systems (6 weeks)
- Modal Superposition Method (Decoupling of differential equations, Solution of decoupled differential equations, Superposition of modal responses, Applications)
- Modal Spectral Method: Response spectrum and design spectrum, Calculation of modal seismic forces, Combination of modal responses, Applications
Table of Contents

## Slide 3
Chapter 03: Pushover Analysis Method (6 weeks)
- Principle
- Definition of structure and behavior laws of plastic hinges
- Definition of lateral force distribution
- Determination of seismic demand
- Nonlinear static analysis of structure
- Transformation into equivalent single degree of freedom system
- Capacity curve of structure A-D and target displacement of SDOF
-Determination of target displacement for multi-degree of freedom system and evaluation of global and local demand
- Performance evaluation and damage analysis
Application
Mode d’évaluation :
Contrôle continu : 40% ; Examen : 60%.

## Slide 4
I. Undamped System: We seek the motion of each mass in the absence of exterior forces p(t). For each degree of freedom, Newton's law is applied without damping:=0
kmn : the force on m under the action of a single and unitary displacement on n
In matrix notation:
If the displacements follow a periodic law as a function of time, they can be written:
and Newton's equation becomes:
-
Remark: et are symmetric, for example = et =
Chapitre 01 : Vibrations libres des S.P.D.D.L

## Slide 5
; we put:=
w so impossible (x=0), so and must det
det = det det
P() =
We seek the positive values, and we sort them from smallest to largest, that is in increasing order. : < < <…. < (natural frequency)
so : > > >…. >
Remark:
the 1st natural frequency () and the 1st period(T1) fundamental
Long period, that is the return time to the initial position is large
The velocity is low: flexible structure.
Short period, that is the return time to the initial position is small The velocity is high: rigid structure.

## Slide 6
II. Orthogonality of eigenmodes:The property of orthogonality of eigenmodes is very useful (important) for solving dynamic problems of multi-degree of freedom systems
.. The mass and stiffness matrices are full matrices.
+
The orthogonality of the eigenmodes will allow decoupling of the equations of motion. :
Mode i:……………….(1)
Mode j:……………….(2)
……….(3)

## Slide 7
The two members of each equation are scalars, so they can be arbitrarily transposed, therefore we have:
Eq(2) == > ……..(4)
Et en plus on a : [K]= [K]T et [M]= [M]T for symmetric matrices
………….(5)
(3)a et (5) give :
== >
but we have :
== > …(6) in the same [K] : …(7)
Equations (6) and (7) are the orthogonality equations of the eigenmodes.
The vibration modes are said to be orthogonal with respect to the mass matrix and with respect to the stiffness matrix.

## Slide 8
si i = j
: It is the principal stiffness and the principal mass
Therefore for 2 eigenmodes i=j :

## Slide 9
The values of the principal matrices depend on how the eigenvectors were normalized.
The most used way to normalize the eigenvectors is so that the principal mass matrix is a unitary matrix.
Application 1:The eigenvectors (Ø1,Ø2) are calculated already in chapter 3 (SDOF) we found the following values:
==
Verify the relations of the eigenmodes and calculate the normalized eigenvector.
Application 2:
Consider the frame below, determine:
1,The eigenvalues and eigenvectors of this system.
2,Verify the orthogonality of the eigenmodes.
3,Determine the normalized eigenvectors.
K1=2K=2
K2=K=1
m1=3m=3
m2= m=1

## Slide 10
III. Dynamic response of undamped free systems:
…….(1)
=: Modal matrix
; ; There for if we substitute (2)in (1)
…….(3)
- multiply by the transpose:
…….(4)
…….(5)

## Slide 11
1) 1’)
2) 2’)
. . . . . .
n) n')
From equation (5) we have:
+
+
.
.
+……..(6)
+ ; + ;… +
= ; ; …. =
; ; …..
The solution to these equations will be
:=t+t ; =t+t ; =t+t . These equations are independent:A1,A2,…An; B1,B2,…Bn are the initial conditions.

## Slide 12
Return to the equation (2) :
= ………(9)
=
= et =
Once the constants have been determined, we calculate the displacements y1, y2 ….yn . Then we calculate the displacement variables of the structure using equation 2.
The orthogonality of the natural mode allows decoupling of the system and transforming it from n degrees of freedom to a single degree of freedom

## Slide 13
Application3 :
Calculate the response of the following system, assuming the initial conditions are: x(0) =; ; = ; = ; m1=m2=1; k=1
= ; =