# Practical Work 1: Culture Media – Preparation and Sterilization

## 1. Objective

The aim of this practical session is to:
- Provide an example of preparing a culture medium and a sterile diluent (physiological saline).
- Summarize a simple classification of culture media:
  - By consistency: liquid, solid, semi-solid.
  - By composition: complex, synthetic.
  - By purpose: elective isolation, selective isolation, selective differential isolation, enrichment media.

## 2. Preparation of a Culture Medium

### Materials Needed

- Dehydrated medium (nutrient agar or PCA)
- Distilled or tap water (depending on instructions)
- Autoclave (120 °C)
- pH meter

### Procedure

1. Weighing: Accurately weigh the required amount of dehydrated medium as indicated on the manufacturer’s label.
2. Dissolving: Dissolve the medium in half the required volume of distilled water (or tap water if specified).
   - This ensures only slight heating is needed.
   - It allows adjustment of pH to ±0.2 units, since autoclaving may lower pH by ~0.2 due to water evaporation.
3. Sterilization: Autoclave the medium at 120 °C for 15–20 minutes, with caps loosely closed.
4. Note: Autoclaving may inactivate growth factors; therefore, certain media should not be autoclaved but sterilized by alternative methods (e.g., filtration).

## 3. Preparation of Diluent (Physiological Saline)

### Materials Needed

- Sodium chloride (NaCl)
- Distilled water
- Test tubes (9 ml capacity each)
- Autoclave
- pH meter

### Procedure

1. Weigh 9 g of NaCl.
2. Dissolve in a minimum amount of distilled water.
3. Heat gently while stirring to ensure complete dissolution.
4. Dispense 9 ml per test tube.
5. Autoclave at 121 °C for 15–20 minutes.
6. Adjust pH to 7.5 ± 0.2 at 25 °C.

## 4. Equipment Required

- General laboratory glassware
- Analytical balance
- Magnetic stirrer with heating plate
- pH meter
- Autoclave
- Test tubes