# Practical Work 3: Direct Enumeration of Microorganisms by Microscopic Techniques

## 1. Objective

The aim of this practical session is to enumerate microorganisms from different food samples directly using slides and bright-field optical microscopy.

## 2. Materials

- Micropipettes with sterile tips
- Optical microscope and staining tray
- Wash bottles: distilled water, bleach, alcohol
- Reagents: methylene blue, immersion oil
- Filter paper, paper towels, glass slides, beaker
- Samples: UHT milk, raw milk, yogurt, baker’s yeast

## 3. Counting on a Microscope Slide

### Procedure

1. Mark a surface area S = 1 cm² on the slide.
2. Prepare a serial dilution of the initial sample using a micropipette with a sterile tip.
3. For each dilution, prepare a v/v solution (1 ml of the dilution + 1 ml of the stain [methylene blue]) in test tubes.
4. Homogenize and wait for 10 minutes.
5. Deposit a volume v = 0.01 ml (10 µl) of the stained sample-dilution in the center of the slide using a micropipette with a sterile tip.
6. Spread the drop evenly over the marked surface area.
7. Cover with a coverslip placed at a 45° angle, then release (to avoid air bubble formation).
8. Observe under the microscope at 100× magnification.
9. Count the number of stained microorganisms n in 10 microscopic fields (area of one field = 10⁻⁴ cm²).
10. Express the number of microorganisms per milliliter (N) as a function of S, V, n, s, and possibly d, using the formula:
    N = (n × S) / (s × v)
11. Interpretation: Compare the microbial load (number of microorganisms per ml or per g) of the different samples.

## 4. Waste Management

- Non-contaminated material: paper, etc. → dispose in trash.
- Contaminated material: tips, Pasteur pipettes, slides, etc. → place in beakers filled with bleach.
- Clean microscopes and tidy the benches at the end of the session.