Course Questions

Q1. Heat transfer by conduction occurs mainly through:
A. Fluid motion
B. Electromagnetic waves
C. Molecular interactions
D. Bulk mixing

Q2. Which mode of heat transfer does not require a material medium?
A. Conduction
B. Convection
C. Radiation
D. Natural convection

Q3. The SI unit of thermal conductivity is:
A. W/m
B. W/m·K
C. J/kg·K
D. W/K

Q4. In solids, heat is mainly transferred by:
A. Radiation
B. Natural convection
C. Conduction
D. Forced convection

Q5. Which material generally has the highest thermal conductivity?
A. Wood
B. Glass
C. Air
D. Copper

Q6. Heat transfer between a hot surface and a moving fluid is called:
A. Conduction
B. Radiation
C. Convection
D. Diffusion

Q7. Fourier’s law of heat conduction relates heat flux to:
A. Temperature difference
B. Temperature gradient
C. Heat capacity
D. Density gradient

Q8. The thermal resistance of a plane wall increases when:
A. Thermal conductivity increases
B. Wall thickness increases
C. Surface area increases
D. Temperature difference increases

Q9. The convective heat transfer coefficient depends on:
A. Only the fluid type
B. Only the surface temperature
C. Flow conditions and fluid properties
D. Only thermal conductivity

Q10. The Nusselt number represents:
A. Heat generation rate
B. Ratio of convective to conductive heat transfer
C. Ratio of inertia to viscous forces
D. Ratio of buoyancy to viscous forces

Q11. Blackbody radiation depends primarily on:
A. Surface roughness
B. Surface color
C. Absolute temperature
D. Distance from the surface

Q12. Emissivity is defined as the ratio of:
A. Reflected radiation to absorbed radiation
B. Emitted radiation of a surface to that of a blackbody
C. Absorbed radiation to transmitted radiation
D. Conductive to convective heat transfer

Q13. In steady-state one-dimensional conduction through a plane wall with no heat generation, the temperature profile is:
A. Exponential
B. Parabolic
C. Linear
D. Logarithmic

Q14. The Stefan–Boltzmann law states that radiative heat flux is proportional to:
A. Temperature difference
B. Temperature gradient
C. Absolute temperature
D. Fourth power of absolute temperature

Q15. When conduction, convection, and radiation occur simultaneously, the total heat transfer rate is:
A. Equal to the maximum of the three
B. Equal to the minimum of the three
C. The sum of the individual contributions
D. Independent of radiation

Q16. For steady-state radial heat conduction through a hollow cylinder with no internal heat generation, the temperature distribution is:
A. Linear with radius
B. Parabolic with radius
C. Logarithmic with radius
D. Exponential with radius

Q17. For a plane wall with uniform internal heat generation under steady-state conditions, the temperature profile across the wall is:
A. Linear
B. Logarithmic
C. Parabolic
D. Exponential

### Q18. Increasing the thermal conductivity of a solid wall will:

A. Increase the thermal resistance
B. Decrease the heat transfer rate
C. Increase the heat transfer rate
D. Have no effect on heat transfer

### Q19. In external forced convection over a flat plate, the flow becomes turbulent when the Reynolds number based on distance from the leading edge exceeds approximately:

A. 103
B. 104
C. 5×105
D. 107

### Q20. The local convective heat transfer coefficient for laminar external flow over a flat plate:

A. Is constant along the plate
B. Increases with distance from the leading edge
C. Decreases with distance from the leading edge
D. Is independent of velocity